## SUBSTATIONS
ID
SUB42M-001
SUB42M-002
SUB42M-003
SUB42M-004
SUB42M-005
SUB42M-006
SUB42M-007
SUB42M-008
SUB42M-009
SUB42M-010
SUB42M-011
SUB42M-012
SUB42M-013
SUB42M-014
SUB42M-015
SUB42M-016
SUB42M-017
SUB42M-018
SUB42M-019
SUB42M-020
SUB42M-021
SUB42M-022
SUB42M-023
SUB42M-024
SUB42M-025
SUB42M-026
SUB42M-027
SUB42M-028
SUB42M-029
SUB42M-030
SUB42M-031
SUB42M-032
SUB42M-033
SUB42M-034
SUB42M-035
SUB42M-036
SUB42M-037
SUB42M-038
SUB42M-039
SUB42M-040
SUB42M-041
SUB42M-042
SUB42M-043
SUB42M-044
SUB42M-045
SUB42M-046
SUB42M-047
SUB42M-048
SUB42M-049
SUB42M-050
SUB42M-051
SUB42M-052
SUB42M-053
SUB42M-054
SUB42M-055
SUB42M-056
SUB42M-057
SUB42M-058
SUB42M-059
SUB42M-060
SUB42M-061
SUB42M-062
SUB42M-063
SUB42M-064
SUB42M-065
SUB42M-066
SUB42M-067
SUB42M-068
SUB42M-069
SUB42M-070
SUB42M-071
SUB42M-072
SUB42M-073
SUB42M-074
SUB42M-075
SUB42M-076
SUB42M-077
SUB42M-078
SUB42M-079
SUB42M-080
SUB42M-081
SUB42M-082
SUB42M-083
SUB42M-084
SUB42M-085
SUB42M-086
SUB42M-087
SUB42M-088
SUB42M-089
SUB42M-090
SUB42M-091
SUB42M-100
SUB42M-101
SUB42M-102
SUB42M-103
SUB42M-104
SUB42M-105
SUB42M-106
SUB42M-107
SUB42M-108
SUB42M-109
SUB42M-110
SUB42M-111
SUB42M-112
SUB42M-113
SUB42M-114
SUB42M-115
SUB42M-116
SUB42M-117
SUB42M-118

## BUSES
NAME | SUBSTATION | U | UMIN | UMAX
B42M-000 | SUB42M-001 | 20 | 18 | 22
B42M-001 | SUB42M-004 | 20 | 18 | 22
B42M-002 | SUB42M-005 | 20 | 18 | 22
B42M-003 | SUB42M-006 | 20 | 18 | 22
B42M-004 | SUB42M-007 | 20 | 18 | 22
B42M-005 | SUB42M-008 | 20 | 18 | 22
B42M-006 | SUB42M-009 | 20 | 18 | 22
B42M-007 | SUB42M-010 | 20 | 18 | 22
B42M-008 | SUB42M-010 | 0.4 | 0.36 | 0.44
B42M-009 | SUB42M-011 | 20 | 18 | 22
B42M-010 | SUB42M-013 | 20 | 18 | 22
B42M-011 | SUB42M-014 | 20 | 18 | 22
B42M-012 | SUB42M-015 | 20 | 18 | 22
B42M-013 | SUB42M-016 | 20 | 18 | 22
B42M-014 | SUB42M-018 | 20 | 18 | 22
B42M-015 | SUB42M-019 | 20 | 18 | 22
B42M-016 | SUB42M-020 | 20 | 18 | 22
B42M-017 | SUB42M-020 | 0.4 | 0.36 | 0.44
B42M-018 | SUB42M-021 | 20 | 18 | 22
B42M-019 | SUB42M-022 | 20 | 18 | 22
B42M-020 | SUB42M-023 | 20 | 18 | 22
B42M-021 | SUB42M-024 | 20 | 18 | 22
B42M-022 | SUB42M-024 | 0.4 | 0.36 | 0.44
B42M-023 | SUB42M-025 | 20 | 18 | 22
B42M-024 | SUB42M-025 | 0.4 | 0.36 | 0.44
B42M-025 | SUB42M-026 | 20 | 18 | 22
B42M-026 | SUB42M-027 | 20 | 18 | 22
B42M-027 | SUB42M-028 | 20 | 18 | 22
B42M-028 | SUB42M-029 | 20 | 18 | 22
B42M-029 | SUB42M-030 | 20 | 18 | 22
B42M-030 | SUB42M-031 | 20 | 18 | 22
B42M-031 | SUB42M-032 | 20 | 18 | 22
B42M-032 | SUB42M-033 | 20 | 18 | 22
B42M-033 | SUB42M-034 | 20 | 18 | 22
B42M-034 | SUB42M-035 | 20 | 18 | 22
B42M-035 | SUB42M-036 | 20 | 18 | 22
B42M-036 | SUB42M-037 | 20 | 18 | 22
B42M-037 | SUB42M-038 | 20 | 18 | 22
B42M-038 | SUB42M-039 | 20 | 18 | 22
B42M-039 | SUB42M-040 | 20 | 18 | 22
B42M-040 | SUB42M-041 | 20 | 18 | 22
B42M-041 | SUB42M-042 | 20 | 18 | 22
B42M-042 | SUB42M-043 | 20 | 18 | 22
B42M-043 | SUB42M-044 | 20 | 18 | 22
B42M-044 | SUB42M-044 | 0.4 | 0.36 | 0.44
B42M-045 | SUB42M-045 | 20 | 18 | 22
B42M-046 | SUB42M-046 | 20 | 18 | 22
B42M-047 | SUB42M-047 | 20 | 18 | 22
B42M-048 | SUB42M-048 | 20 | 18 | 22
B42M-049 | SUB42M-049 | 20 | 18 | 22
B42M-050 | SUB42M-050 | 20 | 18 | 22
B42M-051 | SUB42M-051 | 20 | 18 | 22
B42M-052 | SUB42M-052 | 20 | 18 | 22
B42M-053 | SUB42M-052 | 0.4 | 0.36 | 0.44
B42M-054 | SUB42M-053 | 20 | 18 | 22
B42M-055 | SUB42M-054 | 20 | 18 | 22
B42M-056 | SUB42M-055 | 20 | 18 | 22
B42M-057 | SUB42M-056 | 20 | 18 | 22
B42M-058 | SUB42M-057 | 20 | 18 | 22
B42M-059 | SUB42M-058 | 20 | 18 | 22
B42M-060 | SUB42M-059 | 20 | 18 | 22
B42M-061 | SUB42M-060 | 20 | 18 | 22
B42M-062 | SUB42M-061 | 20 | 18 | 22
B42M-063 | SUB42M-062 | 20 | 18 | 22
B42M-064 | SUB42M-063 | 20 | 18 | 22
B42M-065 | SUB42M-064 | 20 | 18 | 22
B42M-066 | SUB42M-065 | 20 | 18 | 22
B42M-067 | SUB42M-066 | 20 | 18 | 22
B42M-068 | SUB42M-067 | 20 | 18 | 22
B42M-069 | SUB42M-068 | 20 | 18 | 22
B42M-070 | SUB42M-069 | 20 | 18 | 22
B42M-071 | SUB42M-070 | 20 | 18 | 22
B42M-072 | SUB42M-071 | 20 | 18 | 22
B42M-073 | SUB42M-072 | 20 | 18 | 22
B42M-074 | SUB42M-073 | 20 | 18 | 22
B42M-075 | SUB42M-074 | 20 | 18 | 22
B42M-076 | SUB42M-075 | 20 | 18 | 22
B42M-077 | SUB42M-076 | 20 | 18 | 22
B42M-078 | SUB42M-077 | 20 | 18 | 22
B42M-079 | SUB42M-078 | 20 | 18 | 22
B42M-080 | SUB42M-079 | 20 | 18 | 22
B42M-081 | SUB42M-080 | 20 | 18 | 22
B42M-082 | SUB42M-082 | 20 | 18 | 22
B42M-083 | SUB42M-083 | 20 | 18 | 22
B42M-084 | SUB42M-084 | 20 | 18 | 22
B42M-085 | SUB42M-085 | 20 | 18 | 22
B42M-086 | SUB42M-086 | 20 | 18 | 22
B42M-087 | SUB42M-087 | 20 | 18 | 22
B42M-088 | SUB42M-087 | 0.4 | 0.36 | 0.44
B42M-089 | SUB42M-088 | 20 | 18 | 22
B42M-090 | SUB42M-089 | 20 | 18 | 22
B42M-099 | SUB42M-002 | 20 | 18 | 22
B42M-100 | SUB42M-003 | 20 | 18 | 22
B42M-101 | SUB42M-003 | 20 | 18 | 22
B42M-102 | SUB42M-017 | 20 | 18 | 22
B42M-103 | SUB42M-017 | 20 | 18 | 22
B42M-104 | SUB42M-030 | 20 | 18 | 22
B42M-105 | SUB42M-038 | 20 | 18 | 22
B42M-106 | SUB42M-081 | 20 | 18 | 22
B42M-107 | SUB42M-081 | 20 | 18 | 22
B42M-108 | SUB42M-082 | 20 | 18 | 22
B42M-109 | SUB42M-091 | 20 | 18 | 22
B42M-110 | SUB42M-091 | 20 | 18 | 22
B42M-113 | SUB42M-090 | 20 | 18 | 22
B42M-114 | SUB42M-090 | 20 | 18 | 22
B42M-115 | SUB42M-012 | 20 | 18 | 22
B42M-117 | SUB42M-100 | 20 | 18 | 22
B42M-118 | SUB42M-101 | 20 | 18 | 22
B42M-119 | SUB42M-102 | 20 | 18 | 22
B42M-120 | SUB42M-103 | 20 | 18 | 22
B42M-121 | SUB42M-104 | 20 | 18 | 22
B42M-122 | SUB42M-105 | 20 | 18 | 22
B42M-123 | SUB42M-106 | 20 | 18 | 22
B42M-124 | SUB42M-107 | 20 | 18 | 22
B42M-125 | SUB42M-108 | 20 | 18 | 22
B42M-126 | SUB42M-109 | 20 | 18 | 22
B42M-127 | SUB42M-110 | 20 | 18 | 22
B42M-128 | SUB42M-111 | 20 | 18 | 22
B42M-129 | SUB42M-112 | 20 | 18 | 22
B42M-130 | SUB42M-113 | 20 | 18 | 22
B42M-131 | SUB42M-114 | 20 | 18 | 22
B42M-132 | SUB42M-115 | 20 | 18 | 22
B42M-133 | SUB42M-116 | 20 | 18 | 22
B42M-134 | SUB42M-117 | 20 | 18 | 22
B42M-135 | SUB42M-118 | 20 | 18 | 22

## LINES
NAME | BUS1 | BUS2 | R | X | G1 | B1 | G2 | B2 | CURRENTLIMIT | LINE_TYPE
L42M-001 | B42M-000 | B42M-099 | 0.0108 | 0.0167 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-002 | B42M-099 | B42M-100 | 0.0017 | 0.0027 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-003 | B42M-099 | B42M-001 | 0.0525 | 0.0815 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-004 | B42M-001 | B42M-002 | 0.0527 | 0.0818 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-005 | B42M-002 | B42M-003 | 0.0101 | 0.0034 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-006 | B42M-002 | B42M-004 | 0.0903 | 0.1403 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-007 | B42M-004 | B42M-005 | 0.3168 | 0.2184 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-008 | B42M-004 | B42M-006 | 0.0849 | 0.1319 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-009 | B42M-006 | B42M-007 | 0.0151 | 0.0234 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-010 | B42M-006 | B42M-009 | 0.0645 | 0.1002 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-011 | B42M-009 | B42M-115 | 0.0058 | 0.004 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-012 | B42M-009 | B42M-010 | 0.1217 | 0.189 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-013 | B42M-010 | B42M-011 | 0.0086 | 0.006 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-014 | B42M-010 | B42M-117 | 0.0295 | 0.0458 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-015 | B42M-012 | B42M-013 | 0.0076 | 0.0025 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-016 | B42M-012 | B42M-125 | 0.078 | 0.12 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-017 | B42M-103 | B42M-014 | 0.0729 | 0.1132 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-018 | B42M-014 | B42M-015 | 0.0065 | 0.01 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-019 | B42M-015 | B42M-016 | 0.0545 | 0.0181 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-020 | B42M-015 | B42M-018 | 0.3462 | 0.1152 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-021 | B42M-014 | B42M-019 | 0.0553 | 0.0858 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-022 | B42M-019 | B42M-023 | 0.0709 | 0.1102 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-023 | B42M-023 | B42M-025 | 0.0774 | 0.1202 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-024 | B42M-025 | B42M-026 | 0.0279 | 0.0434 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-025 | B42M-025 | B42M-027 | 0.0473 | 0.0735 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-026 | B42M-027 | B42M-028 | 0.0709 | 0.1102 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-027 | B42M-028 | B42M-029 | 0.043 | 0.0668 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-028 | B42M-028 | B42M-030 | 0.0161 | 0.025 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-029 | B42M-027 | B42M-031 | 0.1505 | 0.2338 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-030 | B42M-031 | B42M-032 | 0.0317 | 0.0106 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-031 | B42M-031 | B42M-127 | 0.104 | 0.072 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-032 | B42M-033 | B42M-034 | 0.0173 | 0.0119 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-033 | B42M-019 | B42M-129 | 0.14 | 0.2171 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-034 | B42M-020 | B42M-021 | 0.0032 | 0.005 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-035 | B42M-020 | B42M-131 | 0.0667 | 0.104 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-036 | B42M-035 | B42M-036 | 0.7608 | 0.2532 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-037 | B42M-035 | B42M-037 | 0.0516 | 0.0802 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-038 | B42M-019 | B42M-038 | 0.1178 | 0.183 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-039 | B42M-038 | B42M-039 | 0.142 | 0.0473 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-040 | B42M-038 | B42M-040 | 0.266 | 0.4132 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-041 | B42M-040 | B42M-041 | 0.1902 | 0.0633 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-042 | B42M-041 | B42M-042 | 0.0063 | 0.0021 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-043 | B42M-041 | B42M-043 | 0.2384 | 0.0793 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-044 | B42M-040 | B42M-045 | 0.0108 | 0.0167 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-045 | B42M-045 | B42M-046 | 0.0279 | 0.0093 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-046 | B42M-045 | B42M-047 | 0.0727 | 0.1129 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-047 | B42M-047 | B42M-048 | 0.0092 | 0.0064 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-048 | B42M-047 | B42M-049 | 0.0968 | 0.1503 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-049 | B42M-049 | B42M-050 | 0.0216 | 0.0072 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-050 | B42M-049 | B42M-051 | 0.0118 | 0.0184 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-051 | B42M-051 | B42M-052 | 0.8584 | 0.2857 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-052 | B42M-051 | B42M-054 | 0.3977 | 0.6179 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-053 | B42M-054 | B42M-055 | 0.0179 | 0.0123 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-054 | B42M-054 | B42M-056 | 0.2903 | 0.4509 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-055 | B42M-056 | B42M-057 | 0.4831 | 0.1608 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-056 | B42M-057 | B42M-058 | 0.2828 | 0.0941 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-057 | B42M-057 | B42M-059 | 0.6505 | 0.2165 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-058 | B42M-059 | B42M-060 | 0.2777 | 0.0924 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-059 | B42M-059 | B42M-061 | 0.6758 | 0.2249 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-060 | B42M-061 | B42M-062 | 0.1572 | 0.1084 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-061 | B42M-061 | B42M-063 | 0.0634 | 0.0211 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-062 | B42M-063 | B42M-064 | 0.0063 | 0.0021 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-063 | B42M-063 | B42M-134 | 0.012 | 0.0042 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-064 | B42M-056 | B42M-066 | 0.0056 | 0.0087 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-065 | B42M-066 | B42M-067 | 0.1382 | 0.046 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-066 | B42M-066 | B42M-068 | 0.1228 | 0.1907 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-067 | B42M-068 | B42M-069 | 0.4476 | 0.149 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-068 | B42M-069 | B42M-070 | 0.3132 | 0.1042 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-069 | B42M-070 | B42M-071 | 0.4032 | 0.1342 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-070 | B42M-069 | B42M-072 | 0.8153 | 0.2713 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-071 | B42M-072 | B42M-073 | 0.3145 | 0.1047 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-072 | B42M-072 | B42M-074 | 0.97 | 0.3228 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-073 | B42M-074 | B42M-075 | 0.5211 | 0.1734 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-074 | B42M-074 | B42M-076 | 0.9193 | 0.3059 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-075 | B42M-068 | B42M-077 | 0.0108 | 0.0167 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-076 | B42M-077 | B42M-078 | 0.3804 | 0.1266 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-077 | B42M-078 | B42M-079 | 0.3805 | 0.1267 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-078 | B42M-079 | B42M-080 | 0.1037 | 0.0715 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-079 | B42M-079 | B42M-081 | 0.7608 | 0.2532 | 0 | 0 | 0 | 0 | 136 | 16 ACSR
L42M-080 | B42M-077 | B42M-106 | 0.0731 | 0.1136 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-081 | B42M-107 | B42M-108 | 0.0075 | 0.0117 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-082 | B42M-082 | B42M-083 | 0.0115 | 0.0079 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-083 | B42M-082 | B42M-084 | 0.0032 | 0.005 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-084 | B42M-084 | B42M-085 | 0.0098 | 0.0067 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-085 | B42M-084 | B42M-086 | 0.0011 | 0.0017 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-086 | B42M-086 | B42M-087 | 0.0098 | 0.0067 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-087 | B42M-086 | B42M-089 | 0.0086 | 0.0134 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-088 | B42M-089 | B42M-090 | 0.0022 | 0.0033 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-089 | B42M-090 | B42M-113 | 0.172 | 0.2672 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-090 | B42M-089 | B42M-109 | 0.0108 | 0.0167 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-099 | B42M-117 | B42M-118 | 0.0043 | 0.0067 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-100 | B42M-118 | B42M-119 | 0.004 | 0.0028 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-101 | B42M-118 | B42M-120 | 0.052 | 0.0357 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-102 | B42M-117 | B42M-121 | 0.034 | 0.0534 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-103 | B42M-121 | B42M-122 | 0.141 | 0.097 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-104 | B42M-121 | B42M-123 | 0.00215 | 0.00334 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-105 | B42M-123 | B42M-124 | 0.08 | 0.0548 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-106 | B42M-123 | B42M-012 | 0.02 | 0.0317 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-107 | B42M-125 | B42M-102 | 0.275 | 0.4268 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-108 | B42M-125 | B42M-126 | 0.00576 | 0.00397 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-109 | B42M-127 | B42M-128 | 0.075 | 0.052 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-110 | B42M-127 | B42M-033 | 0.0518 | 0.0357 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-111 | B42M-129 | B42M-130 | 0.0115 | 0.008 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-112 | B42M-129 | B42M-020 | 0.058 | 0.09 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-113 | B42M-131 | B42M-132 | 0.007 | 0.0047 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-114 | B42M-131 | B42M-035 | 0.12 | 0.187 | 0 | 0 | 0 | 0 | 448 | 95 ACSR
L42M-115 | B42M-036 | B42M-133 | 0.112 | 0.0774 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-116 | B42M-134 | B42M-135 | 0.4023 | 0.278 | 0 | 0 | 0 | 0 | 224 | 35 ACSR
L42M-117 | B42M-134 | B42M-065 | 0.3456 | 0.2382 | 0 | 0 | 0 | 0 | 224 | 35 ACSR

## TRANSFORMERS
NAME | BUS1 | BUS2 | R | X | G | B | RATEDU1 | RATEDU2
T-49MAGIKO | B42M-007 | B42M-008 | 0.02496 | 0.072636 | 0 | 0 | 20 | 0.4
T-97EKSOXI | B42M-016 | B42M-017 | 0.044064 | 0.11161 | 0 | 0 | 20 | 0.4
T-122EKSOXI | B42M-023 | B42M-024 | 0.084 | 0.17264 | 0 | 0 | 20 | 0.4
T-109EKSOXI | B42M-021 | B42M-022 | 0.044064 | 0.11161 | 0 | 0 | 20 | 0.4
T-61EKSOXI | B42M-043 | B42M-044 | 0.02496 | 0.072636 | 0 | 0 | 20 | 0.4
T-41EKSOXI | B42M-052 | B42M-053 | 0.0504 | 0 | 0 | 0 | 20 | 0.4
T-13OLVIO | B42M-087 | B42M-088 | 0.02496 | 0.072636 | 0 | 0 | 20 | 0.4

## LOADS
NAME | BUS | P | Q | S | Load Type (Essential/Non-essetial) | LAMBDA
47MAGIKO | B42M-001 | 0.1425 | 0.0468 | 0.15 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
32MAGIKO | B42M-003 | 0.1425 | 0.0468 | 0.15 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
134EKSOXI | B42M-005 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
50MAGIKO | B42M-115 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
65EKSOXI | B42M-013 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
3EKSOXI | B42M-018 | 0.1425 | 0.0468 | 0.15 | SUBSTATION modeled as aggregated load (ESSENTIAL) | 10
90EKSOXI | B42M-036 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
42EKSOXI | B42M-030 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
54EKSOXI | B42M-032 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (ESSENTIAL) | 10
10EKSOXI | B42M-039 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (ESSENTIAL) | 10
104EKSOXI | B42M-042 | 0.1425 | 0.0468 | 0.15 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
87098701295 | B42M-044 | 0.12825 | 0.04212 | 0.135 | AGRICULTURE (Non- ESSENTIAL) | 1
105EKSOXI | B42M-046 | 0.1425 | 0.0468 | 0.15 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
133EKSOXI | B42M-048 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
40EKSOXI | B42M-050 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
87098701300 | B42M-053 | 0.08075 | 0.02652 | 0.085 | PUBLIC BUILDING (Non- ESSENTIAL) | 1
102EYLALO | B42M-055 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
2EYLALO | B42M-058 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (ESSENTIAL) | 10
3EYLALO | B42M-060 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (ESSENTIAL) | 10
98EYLALO | B42M-062 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
15EYLALO | B42M-064 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
110EYLALO | B42M-065 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
7OLVIO | B42M-067 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
1OLVIO | B42M-070 | 0.0665 | 0.02184 | 0.07 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
2OLVIO | B42M-071 | 0.095 | 0.0312 | 0.1 | SUBSTATION modeled as aggregated load (ESSENTIAL) | 10
3OLVIO | B42M-073 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
11OLVIO | B42M-075 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
9OLVIO | B42M-076 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
10OLVIO | B42M-078 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
17OLVIO | B42M-080 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
70EYLALO | B42M-081 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
888700210 | B42M-083 | 3.61 | 1.1856 | 3.8 | INDUSTRIAL (ESSENTIAL) | 10
888700085 | B42M-085 | 3.61 | 1.1856 | 3.8 | INDUSTRIAL (ESSENTIAL) | 10
18OLVIO | B42M-090 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1
115EYLALOY | B42M-135 | 0.0475 | 0.0156 | 0.05 | SUBSTATION modeled as aggregated load (Non- ESSENTIAL) | 1

## GENERATORS
NAME | BUS | MINP | MAXP | TARGETP | TARGETV | TARGETQ | MINQ | MAXQ
G42M | B42M-000 | 0 | 47.5 | 38 | 20 | 15.62 | -15.62 | 23
87023080244 | B42M-008 | -0.00024 | 0.1 | 0.1 | 0.4 | 0.001 | 0 | 0.001
87023080245 | B42M-008 | -0.00036 | 0.1 | 0.1 | 0.4 | 0.001 | 0 | 0.001
888700175 | B42M-011 | -0.0024 | 0.5 | 0.5 | 20 | 0.001 | 0 | 0.001
87023080229 | B42M-017 | -0.000272 | 0.1 | 0.1 | 0.4 | 0.002368 | 0 | 0.002368
87023080243 | B42M-024 | -0.000592 | 0.1 | 0.1 | 0.4 | 0.001 | 0 | 0.001
888700215 | B42M-026 | -0.0016 | 0.5 | 0.5 | 20 | 0.008 | 0 | 0.008
888700130 | B42M-033 | -0.002 | 0.15 | 0.15 | 20 | 0.001 | 0 | 0.001
888700187 | B42M-034 | -0.001 | 0.1 | 0.1 | 20 | 0.001 | 0 | 0.001
87023079343 | B42M-022 | -0.0008 | 0.1 | 0.1 | 0.4 | 0.0028 | 0 | 0.0028
87023080236 | B42M-088 | -0.0008 | 0.067 | 0.067 | 0.4 | 0.0028 | 0 | 0.0028
87023080237 | B42M-088 | -0.0008 | 0.1 | 0.1 | 0.4 | 0.0028 | 0 | 0.0028
888700309 | B42M-119 | -0.0024 | 0.5 | 0.5 | 20 | 0.001 | 0 | 0.001
888700295 | B42M-120 | -0.0156 | 1 | 1 | 20 | 0.006 | 0 | 0.006
888700296 | B42M-126 | -0.0156 | 1 | 1 | 20 | 0.006 | 0 | 0.006
888700227 | B42M-128 | -0.0024 | 0.5 | 0.5 | 20 | 0.001 | 0 | 0.001
888700439 | B42M-130 | -0.0024 | 0.5 | 0.5 | 20 | 0.001 | 0 | 0.001
888700340 | B42M-133 | -0.00144 | 0.32 | 0.32 | 20 | 0.001 | 0 | 0.001
888700389 | B42M-132 | -0.0156 | 1 | 1 | 20 | 0.006 | 0 | 0.006
888700418 | B42M-122 | -0.0024 | 0.5 | 0.5 | 20 | 0.001 | 0 | 0.001
888700428 | B42M-124 | -0.0156 | 1 | 1 | 20 | 0.006 | 0 | 0.006

## SWITCHES
NAME | BUS1 | BUS2 | OPEN | Original Name
SW42M-001 | B42M-100 | B42M-101 | OPEN | Τ-42Μ/1
SW42M-002 | B42M-102 | B42M-103 | CLOSED | Τ-42Μ/5
SW42M-003 | B42M-029 | B42M-104 | OPEN | Τ-34ΑΞ/3
SW42M-004 | B42M-037 | B42M-105 | OPEN | ΔΦ-34Ξ/2
SW42M-005 | B42M-106 | B42M-107 | CLOSED | Τ-42Μ/4
SW42M-006 | B42M-108 | B42M-082 | CLOSED | Τ-42Μ/2
SW42M-007 | B42M-109 | B42M-110 | OPEN | ΔΦ-42Μ/1
SW42M-009 | B42M-113 | B42M-114 | OPEN | ΔΦ-36Μ/2